{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["iFIX Ost-West"],"not_rendered":{"charts":0,"images":2,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"iFIX Ost-West","index":0,"n_rows":20,"n_cols":54,"rows_kept":20,"cut":false,"hidden":false,"merged":[[19,50,19,52],[19,44,19,48],[7,4,17,4],[4,7,4,41],[7,49,7,52],[7,44,7,48],[19,1,25,4],[20,44,20,48],[5,1,6,1],[4,44,4,48],[3,44,3,48],[2,44,2,48],[1,44,1,50],[2,49,2,52],[3,49,3,52],[4,49,4,52],[5,44,6,48],[5,49,6,52],[6,43,18,43]]}
[]
[null,null,null,null,null,null,null,{"$f":"COUNTIF(H8:AP18,\"M\")*AX6/1000","v":43.2},null,"kWp",null,{"$f":"COUNTIF(L8:AT18,\"M\")*BB6/1000","v":0},null,"kWp",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Gewählte Daten:"]
[null,null,null,null,null,null,null,{"$f":"COUNTIF(H8:AP18,\"M\")","v":108},null,{"$f":"COUNTIF(H7:AP19,\"I\")","v":126},null,{"$f":"COUNTIF(L8:AT18,\"M\")","v":96},null,{"$f":"COUNTIF(L7:AT19,\"I\")","v":112},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Länge PV-Modul",null,null,null,null,1754]
[null,null,null,null,null,null,null,{"$f":"(J3*2)-J4","v":180},null,{"$f":"(J3-H3)*4","v":72},null,{"$f":"(N3*2)-N4","v":160},null,{"$f":"(N3-L3)*4","v":64},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Breite PV-Modul",null,null,null,null,1096]
[null,null,null,null,null,"s","<",{"$f":"\"---  Feldlänge: \"&COUNTA(H6:AP6)*1.2&\" m  ---\"","v":"---  Feldlänge: 21,6 m  ---"},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,">","s","Höhe PV-Modul",null,null,null,null,30]
[null,null,null,null,"s",null,null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,"n",null,null,"Leistung PV-Modul",null,null,null,null,400]
[null,null,null,null,">",null,null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,{"$f":"IF(COUNTA(F8:F18)>7,\"max. Reihenlänge überschritten -> \"\"Trennung\"\" einfügen!\",\"\")","v":""}]
[null,null,null,null,{"$f":"IF(AX3<>\"\",IF(COUNTA(F8:F18)<3,\"---  Breite: \",\"---  Feldbreite: \")&ROUND(COUNTA(F8:F18)*((AX3+20)/1000)+0.44,2)&\" m  ---\",\"---  Feldbreite: Länge PV-Modul fehlt!  ---\")","v":"---  Feldbreite: 11,08 m  ---"},"n","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S",null,"\nAnzahl Reihen\nModule je Reihe\n\n",null,null,null,null,{"$f":"CHAR(10)&COUNTA(H6:AP6)&CHAR(10)&COUNTA(F8:F18)&CHAR(10)&CHAR(10)","v":"\n18\n6\n\n"}]
[null,null,null,null,null,null,null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I"]
[null,null,null,null,null,"n","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S"]
[null,null,null,null,null,null,null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I"]
[null,null,null,null,null,"n","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S"]
[null,null,null,null,null,null,null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I"]
[null,null,null,null,null,"n","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S"]
[null,null,null,null,null,null,null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I"]
[null,null,null,null,null,"n","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S"]
[null,null,null,null,null,null,null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I"]
[null,null,null,null,null,"n","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S","M",null,"M","S"]
[null,null,null,null,"<",null,null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I",null,"I"]
["Ende","ACHTUNG: nach max. 7 Modulen in Reihe ist manuell ein Trennungsabstand ein-zufügen (eine Modullänge \"symbolisch\" freilassen, Feldbreite in Meter ist dann nur mehr bedingt korrekt)\n\nDie Anzahl der Reihen nebeneinander ist systemtechnisch nicht beschränkt\n(ev. Wartungsgänge berücksichtigen!)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"iFIX-ONE Reihenmaß",null,null,null,null,null,"2,40 m",null,null,"(unabhängig von Modulmaß)"]